## Start Here
PV + Heat Pump — Buyer's Education & Offer Comparison
How to use this workbook
This workbook has two layers that work together:
1 — Education tabs | Module, Inverter, Battery, Heat Pump, Mounting/BoS. Each lists the specs that drive performance, durability and cost, WHY each matters (engineering rationale), and what 'good / acceptable / red flag' looks like. Read these first to know what to look for.
2 — Comparison tabs | PV Offers and HP Offers: one column per vendor offer. Fill the spec rows from each offer PDF. The 'Weight' column lets you score offers once you know which features matter to you.
Glossary & Red Flags | Plain-language definitions + the tricks and warning signs to watch for in German PV/WP offers.
Offer Tracker | Status of every vendor that contacted you, so nothing slips.
Colour key
Amber cell | Means: you fill this in (from an offer PDF or your own priorities).
Green text | Means: good / strong characteristic.
Red text | Means: weak point or red flag to question.
Note on numbers | All prices in this workbook should be entered NET and GROSS clearly labelled, and you must note whether the figure is before or after any Förderung (subsidy). Mixing these is the #1 source of bad comparisons — see Glossary.

## Offer Tracker
Offer Tracker — who contacted you, where each one stands
Vendor / company | Contact | Type | Status | In comparison? | Last contact | Next action | Notes

## PV Offers — Comparison
PV Offers — Comparison
One column per PV offer. Fill the amber cells from each offer document. Use the education sheets to know what 'good' looks like for each row. Set a weight from 1 to 5 for the rows that matter most to you, then score the offers. Keep NET, GROSS and AFTER-FUNDING prices apart.
Specification ↓ / Offer → | Weight 1-5 | Offer 1 | Offer 2 | Offer 3 | Offer 4 | Offer 5 | Offer 6
Vendor & commercial
Vendor / company
Contact person
Offer date
Offer / reference no.
Price NET (€)
Price GROSS incl. VAT (€)
Price AFTER any Förderung (€)
€ per kWp (gross)
Payment terms / deposit
Offer validity (until)
Financing / lease / PPA option
System sizing
Array size (kWp)
Number of modules
Annual yield estimate (kWh/yr)
Specific yield (kWh/kWp/yr)
Roof orientation(s) / tilt
Self-consumption assumption (%)
Modules (cross-ref Module tab)
Module brand & exact model
Cell tech (PERC/TOPCon/HJT)
Wp per module
Module efficiency (%)
Temp. coefficient (%/°C)
Performance warranty (yr / % @ yr)
Product warranty (yr)
Glass-glass or glass-foil
Inverter (cross-ref Inverter tab)
Inverter brand & model
Type (string/hybrid/micro)
Rated AC power (kW)
Sizing ratio (DC:AC)
Euro efficiency (%)
No. of MPP trackers
Battery coupling (AC/DC)
Backup capability
Inverter warranty (yr)
Local API / Modbus?
Battery (cross-ref Battery tab)
Battery brand & model
Chemistry (LFP/NMC)
Nominal capacity (kWh)
Usable capacity (kWh)
Round-trip efficiency (%)
Cycle life
Warranty (yr / MWh / % SoH)
Modular / expandable?
Backup box included?
Balance of system & scope
Racking material/system
Surge/arc protection (SPD) included?
Smart meter / EMS included?
Wallbox included / provisioned?
Scaffolding included?
Electrical connection work included?
Grid registration / Anmeldung handled?
Förderung application handled?
What is explicitly EXCLUDED?
Service & risk
Installation lead time
Workmanship warranty (yr)
Single point of contact / subcontracted?
Company age / references
Insurance / Gewährleistung
Red flags noticed
Control & HomeAssistant (added)
Local Modbus TCP (read) | 5
Local Modbus write (setpoints) | 5
Home Assistant integration (native/HACS/none) | 5
Open local API vs cloud-only | 5
Dynamic-tariff ready (Tibber/aWATTar etc.) | 4
Battery external charge/discharge control | 4
Emergency power (phases / auto) | 3
Smart meter / iMSys included | 3
EV / wallbox surplus + V2H readiness | 2
Verdict: self-controllable without vendor cloud? | 5
Scoring (optional)
Weighted score (you fill)
Your ranking
Decision notes

## Heat Pump Offers — Comparison
Heat Pump Offers — Comparison
One column per heat pump offer. Fill the amber cells from each offer document. Cross-check the Heat Pump and Mounting sheets. Keep NET, GROSS and AFTER-FUNDING prices apart; a funding rate is only a hope until the approval arrives.
Specification ↓ / Offer → | Weight 1-5 | Offer 1 | Offer 2 | Offer 3 | Offer 4 | Offer 5 | Offer 6
Vendor & commercial
Vendor / company
Contact person
Offer date
Offer / reference no.
Price NET (€)
Price GROSS incl. VAT (€)
Price AFTER BEG Förderung (€)
Stated Förderquote (%)
Payment terms / deposit
Offer validity (until)
Heat pump unit (cross-ref Heat Pump tab)
Brand & exact model
Heating capacity (kW)
Heat-load basis (Heizlast calc?)
SCOP / JAZ stated
COP @ A−7/W35 (cold)
Design flow temperature (°C)
Modulating or on/off?
Modulation range (%)
Refrigerant & GWP
Monobloc or split?
Noise & siting
Sound power Lw (dB(A))
Sound pressure @ distance (dB(A))
Night-mode capability
Proposed siting / boundary distance
TA-Lärm compliance confirmed?
Hot water & hydraulics (cross-ref BoS tab)
DHW tank size (L)
Reaches 60°C on compressor?
Buffer tank size / included?
Hydraulic schematic included?
Emitter/radiator assessment done?
Hydraulic balancing (Verfahren B)?
Controls & integration
SG-Ready / smart-grid interface?
Open protocol (Modbus/EEBus)?
PV / EMS integration with surplus heating?
Local control vs cloud-only?
Scope & service
Removal of old heating included?
Electrical work / new circuit included?
Förderung (BEG) application handled?
Installation lead time
Unit + compressor warranty (yr)
Maintenance contract required?
Local service network?
What is explicitly EXCLUDED?
Red flags noticed
Control & HomeAssistant (added)
SG-Ready interface | 4
EEBus support | 4
Modbus / local API | 4
Controllable from 3rd-party HEMS (Home Assistant)? | 5
PV-surplus heating automatable cross-brand? | 4
Cloud dependency / lock-in risk | 4
Verdict: self-controllable without vendor cloud? | 5
Scoring (optional)
Weighted score (you fill)
Your ranking
Decision notes

## Heat Pump (Wärmepumpe)
Heat Pump (Wärmepumpe)
A heat pump is a refrigeration cycle run in reverse: it moves heat rather than making it, so it delivers 3–5 kWh of heat per kWh of electricity. Its real-world efficiency depends brutally on the temperature lift it must achieve — which is why flow temperature and your radiators matter as much as the unit itself.
Specification | Why it matters (engineering rationale) | Good | Acceptable | Red flag / weak
Efficiency (the core economics)
SCOP / JAZ (seasonal) | The single most important number. COP is a spot figure at one test condition; SCOP (standard) and JAZ (Jahresarbeitszahl — your real installed seasonal average) integrate efficiency across a whole heating season including defrost and part-load. JAZ >=3 is the rough threshold for sensible operating cost and for some subsidy logic; >=4 is excellent. Vendors quote COP at A7/W35 (easy condition) to flatter the unit — always ask for SCOP and a calculated JAZ for YOUR flow temperature. | JAZ/SCOP >=4.0 | 3.0–4.0 | Only COP@A7/W35 quoted; JAZ <3
Flow temperature vs your emitters | Efficiency is governed by the lift between source and the water temperature you must deliver. Old radiators sized for 55–70°C flow force a big lift and crush COP; underfloor/large radiators at 30–40°C let the pump sing. The Carnot ceiling: COP_max = T_hot/(T_hot−T_cold) in Kelvin — every 5°C you can drop the flow temp is a measurable COP gain. This is where most retrofit disappointment comes from. | Design flow <=40°C (UFH/big rads) | 45–50°C | >=55°C on existing small radiators
Heating capacity (kW) & sizing | Must match the building heat load (from a Heizlastberechnung per DIN EN 12831), not a rule of thumb. Oversizing causes short-cycling (efficiency + wear loss); undersizing leans on the backup heater. A 10 kW unit on a well-insulated house may be oversized. Insist the kW is justified by a calculated heat load. | Sized to a real Heizlast calc | Reasonable estimate stated | '10 kW' with no heat-load basis
Modulation (inverter-driven) | A modulating (inverter) compressor varies output to match demand and runs long, gentle cycles at high part-load efficiency. On/off units hammer between full power and off — worse JAZ, more wear, more noise events. Check the modulation range (e.g. 25–100%). | Wide modulation (e.g. 25–100%) | Modulating, narrow range | On/off (single-speed)
Refrigerant & future-proofing
Refrigerant type & GWP | R290 (propane) has GWP ~3 and excellent thermodynamics enabling high flow temps efficiently — it is where the market is heading and is favoured under the EU F-Gas phase-down. R32 (GWP ~675) is common and fine now but faces tightening restrictions; older R410A (GWP ~2088) is effectively legacy. R290 is mildly flammable (A3) so siting rules apply, but it is the future-proof choice. | R290 (propane) | R32 | R410A or unspecified
Noise, type & durability
Sound power / pressure (dB(A)) | Two different figures: sound POWER (Lw, the source) vs sound PRESSURE (Lp, at a distance). German TA-Lärm limits at the neighbour's window (e.g. 35 dB(A) night in residential areas) can dictate siting and even unit choice on a tight Munich plot. Get the dB(A) at a stated distance AND the night-mode figure. | Low Lw + effective night mode | Mid-range, sited well | High dB, close to boundary, no night mode
Monobloc vs split | Monobloc keeps all refrigerant in the outdoor unit (only water pipes enter the house) — no on-site refrigerant work, simpler, ideal for R290 safety. Split has an indoor + outdoor unit linked by refrigerant lines (needs certified handling; small indoor footprint). Monobloc is generally preferred for R290 and simplicity; split can suit space/pipe-run constraints. | Monobloc (esp. with R290) | Split (space-constrained) | Type/refrigerant handling unclear
Defrost strategy & cold-climate behaviour | Air-source units ice up near 0°C/high humidity and must defrost (reverse-cycle), costing efficiency. Quality units defrost on-demand (sensor-based) not on a dumb timer. Check the rated capacity and COP at A−7/W35 — the cold-day number, not the mild-day one — since that is when you need the heat most. | Demand defrost; strong A−7 COP | Adequate cold-rating | Only mild-condition data shown
DHW (hot water) & legionella | If it also makes domestic hot water: tank size, reheat speed, and how it reaches the ~60°C anti-legionella cycle. Reaching 60°C with the compressor alone (vs an electric immersion booster) preserves efficiency; frequent electric boosting wrecks JAZ. | Reaches 60°C on compressor | Occasional electric boost | Relies on immersion for DHW
Warranty & service network | Compressor and full-unit warranty differ. German-serviceable brand with local technicians matters for a 15–20 yr appliance. Check whether an annual maintenance contract is required to keep the warranty. | Long warranty + local service | Standard 5 yr + service | No local service / opaque terms

## Solar Modules (PV Panels)
Solar Modules (PV Panels)
The module is the lowest-failure-rate part of a PV system but sets the ceiling on yield and the floor on lifetime. STC nameplate power is the least useful number for comparison — temperature behaviour, degradation and the warranty structure matter far more over 25 years.
Specification | Why it matters (engineering rationale) | Good | Acceptable | Red flag / weak
Electrical & power
Nominal power (Wp, at STC) | Power at Standard Test Conditions (1000 W/m², 25°C cell, AM1.5). STC is a lab condition you almost never see on a roof, so two modules with identical Wp can yield differently. Use Wp only to size the array, not to judge quality. | 430–460 Wp (current residential) | 400–430 Wp | Unspecified Wp or 'approx.'
Module efficiency (%) | Electrical output per unit area. Higher efficiency = more kWp on a size-limited roof, so it only truly matters when roof area is the binding constraint. On a big roof, cheaper lower-efficiency modules can be the better economic choice. | >21.5% | 20–21.5% | <19%
Cell technology | PERC is the legacy mainstream. TOPCon (n-type) and HJT are the current generation: lower temperature coefficient, lower light-induced degradation (n-type has effectively no boron-oxygen LID), better low-light and bifacial behaviour. HJT has the lowest temp-coefficient but costs more. | TOPCon (n-type) or HJT | PERC (mono) | Polycrystalline / unspecified
Temperature coefficient of Pmax (%/°C) | How much power is lost per °C above 25°C. A roof cell easily hits 60–70°C in summer — at 65°C a -0.34%/°C module loses ~13.6% vs a -0.29%/°C module losing ~11.6%. This is why a 'lower STC' n-type module often out-yields a 'higher STC' PERC module in real heat. The single most under-rated spec. | Better than -0.30 %/°C | -0.30 to -0.35 %/°C | Worse than -0.37 %/°C
Bifaciality (%) | Bifacial modules harvest albedo (reflected light) from the rear. Only useful with reflective ground / flat roof / elevated mount; on a tight pitched roof the gain is marginal. Don't pay a premium for bifacial on a standard tiled roof. | Relevant only for flat/ground mount | N/A on pitched roof | Paying premium with no rear clearance
Durability & longevity
Performance (power) warranty | Guaranteed output decline curve. Two numbers: first-year degradation and annual thereafter. n-type modules now guarantee ~1% year-1 and ~0.4%/yr, reaching ~87–90% at year 25–30. This is the number that protects your 25-year yield model. | >=87% at yr30, <=0.4%/yr | ~84–86% at yr25 | <80% at yr25 or vague curve
Product (workmanship) warranty | Covers physical defects, not output — DISTINCT from the performance warranty. Frame, junction box, delamination. Tier-1 makers now offer 15–25 yr product warranty; a 12-yr product warranty on a 25-yr performance promise is a mismatch worth questioning. | 15–25 years | 12 years | 10 years or less
Manufacturer bankability / tier | A 25-year warranty is only worth the company backing it. 'Tier-1' (Bloomberg) is a bankability ranking, NOT a quality grade, but it correlates with the maker still existing to honour claims. Check the warranty is via a German/EU entity, not only a foreign HQ. | Established tier-1, EU warranty entity | Tier-1, foreign warranty handling | Unknown brand / no model number
Mechanical load rating (Pa) | Snow (push) and wind (pull/suction) load. Bavaria has real snow loads — check the static rating covers your zone. Standard is 5400 Pa snow / 2400 Pa wind; alpine-influenced areas may need more. | >=5400 Pa front | 5400 / 2400 Pa | Below local snow-load requirement
Hail / glass | Front glass thickness and hail impact class. Glass-glass modules are more durable and often carry longer warranties than glass-foil, at a weight penalty. | Glass-glass, IEC hail tested | Glass-foil 3.2mm tempered | No hail rating stated
Fire / safety certification | IEC 61215 (design qualification) and IEC 61730 (safety) are the baseline; insist they are present. For Germany also relevant: the module must suit the roof fire class of your build. | IEC 61215 + 61730 certified | Certified, generic | Certs not stated

## Inverter
Inverter
The inverter is the brain and the most likely component to fail within the system's life (typically the first replacement, ~10–15 yr). It converts DC to AC, runs MPP tracking, and — if hybrid — manages the battery and backup. Sizing ratio and hybrid capability matter as much as peak efficiency.
Specification | Why it matters (engineering rationale) | Good | Acceptable | Red flag / weak
Type & topology
Inverter type | String = one unit for the array (cheapest, MPP shared per string). Hybrid = string inverter with integrated battery management + backup (recommended if battery now or later). Microinverters = one per module (best for heavy shading / complex roofs, higher cost, distributed failure). Power optimisers (e.g. SolarEdge) sit between. | Hybrid (if battery/backup wanted) | String (PV-only, battery-ready) | Plain string sold as 'battery-ready' with no DC coupling path
Battery coupling (AC vs DC) | DC-coupled hybrids charge the battery directly from PV DC — one conversion, ~2–3% higher round-trip efficiency, and they can capture clipped power above inverter AC limit. AC-coupled adds the battery via a second inverter — more flexible for retrofits but an extra conversion loss. | DC-coupled hybrid for new build | AC-coupled (retrofit) | Topology not stated
Performance
Max / European efficiency (%) | Peak efficiency is marketing; the 'European weighted efficiency' (or CEC) reflects part-load operation across a realistic irradiance distribution and is the honest comparison number. The gap between max and Euro efficiency reveals part-load quality. | Euro eff >=97.5% | 96.5–97.5% | Only 'max' quoted, no Euro/CEC
Sizing ratio (kWp DC : kW AC) | Arrays are routinely oversized vs the inverter (1.1–1.25:1) because peak STC output is rarely reached, so a smaller/cheaper inverter loses almost nothing and runs at higher average efficiency. Too aggressive (>1.3) clips real production on good days. Check the ratio implied by the offer. | 1.1–1.25 : 1 | 1.0–1.1 or 1.25–1.3 | >1.35 (chronic clipping) or 1:1 (over-paying for inverter)
Number of MPP trackers | Each MPPT independently optimises a string. Multiple roof orientations (E/W, plus shading) need >=2 MPPTs or yield is dragged to the weakest module. A single-MPPT inverter on a multi-orientation roof is a real yield loss. | >=2 MPPT, matched to roof faces | 2 MPPT | 1 MPPT on multi-orientation roof
Backup, grid & durability
Backup / emergency power capability | Three levels: none; 'Ersatzstrom' (manual, single phase, short interruption); 'Notstrom/USV' (automatic, ideally 3-phase, near-seamless). True whole-home 3-phase backup needs a backup-capable hybrid + backup box and correct wiring. If grid independence matters to you, this is a make-or-break line. | Automatic 3-phase backup (Notstrom) | Single-phase Ersatzstrom | 'Backup ready' with no box/wiring included
Warranty (years) | Inverters fail more than modules. Standard 5–10 yr, extendable. Given a likely mid-life replacement, a longer standard warranty materially affects lifetime cost. | 10 yr standard / extendable to 20 | 5–10 yr | <5 yr or unclear
Monitoring & interfaces | Granular per-string monitoring, open API / Modbus TCP, and local (not cloud-only) access matter for self-consumption optimisation and home-automation integration. Cloud-only with no local API is a lock-in and an outage risk. | Local Modbus/API + per-string data | App + cloud portal | Cloud-only, no local/API access
Protection rating & siting | IP65+ allows outdoor/garage mounting; note ambient temp derating. Inverters derate in heat — a sun-exposed wall hurts summer yield. | IP65+, shaded/cool siting | IP65 indoor | Low IP or hot, sun-exposed siting

## Battery Storage
Battery Storage
Storage rarely pays back on arbitrage alone in Germany today — its value is self-consumption uplift, backup, and (increasingly) dynamic-tariff/feed-in optimisation. Compare USABLE energy and warranted throughput, not nominal kWh. Chemistry decides safety and cycle life.
Specification | Why it matters (engineering rationale) | Good | Acceptable | Red flag / weak
Capacity & chemistry
Nominal vs usable capacity (kWh) | Usable = nominal × depth of discharge. Vendors love quoting nominal. A 10 kWh nominal LFP at 90–95% DoD gives ~9–9.5 kWh usable; an older NMC at 80% gives 8. Always normalise €/usable-kWh, not €/nominal-kWh. | Usable >=90% of nominal | 80–90% | Only nominal quoted
Cell chemistry | LFP (LiFePO4) is now standard for home storage: no cobalt, far higher thermal-runaway threshold (safer), 6000–10000 cycles, slightly lower energy density (irrelevant for stationary). NMC is denser but runs hotter and ages faster. For a house, LFP is the right answer almost always. | LFP (LiFePO4) | NMC (if space-critical) | Lead-acid / unspecified
Depth of discharge (DoD %) | How much of nominal you can cycle without harming life. LFP tolerates 90–100% DoD; designing to ~90% is a good longevity/usable-capacity compromise. | 90–100% | 80–90% | <80%
Longevity & warranty
Cycle life | Cycles to a defined end-of-life capacity (e.g. 70–80% retained). At one full cycle/day, 6000 cycles ≈ 16 years. This is the durability backbone of the battery economics. | >=6000 cycles to 80% | 4000–6000 | <3000 or undefined endpoint
Warranty: years AND throughput | Battery warranties are dual: e.g. '10 years OR X MWh throughput, whichever first', plus a guaranteed end-of-warranty capacity (e.g. >=70%). Read which limit binds first for your usage. A '10-year' warranty capped at low throughput can expire in 6. | 10 yr + high MWh + >=70% SoH | 10 yr standard | Years only, no throughput/SoH
Round-trip efficiency (%) | Energy out / energy in, including inverter conversion. Every percent lost is self-consumption you paid to store and didn't get back. DC-coupled systems lead here. | >=90% (DC-coupled) | 85–90% | <85% or unstated
Architecture & function
Modularity / expandability | Stackable systems let you add kWh later (e.g. when you get an EV or heat pump load grows). Check max stack and whether mixing module ages is allowed. Non-modular means buying your final size now. | Modular, future-expandable | Fixed but right-sized | Non-modular, undersized
Backup integration | Does the battery actually power the house in an outage, and single- or 3-phase, automatic or manual? Many 'storage' offers do NOT include the backup box/wiring — the battery sits idle during a blackout. Tie this to the inverter backup row. | Integrated automatic backup | Backup-capable, box optional | No blackout function despite battery
Operating temperature & siting | Cells age fast outside ~15–30°C. An unheated garage in a Munich winter (sub-zero) can block charging or shorten life unless the unit is rated/heated for it. Check the rated range vs install location. | Wide rated range / conditioned site | Indoor, stable temp | Outdoor/cold site beyond rating
Safety certification | VDE-AR-E 2510-50 (German storage standard), IEC 62619, integrated BMS with cell balancing, and fire behaviour. LFP's chemistry is the first safety layer; certs and BMS are the second. | VDE 2510-50 + IEC 62619 + BMS | IEC certified | No storage-specific cert

## Mounting & Balance of System
Mounting & Balance of System
The 'boring' parts (racking, cabling, meter, wallbox, protections) are where corners get cut and where long-term reliability and safety actually live. A premium module on a corroding rail or an undersized cable is a false economy.
Item | Why it matters (engineering rationale) | Good | Acceptable | Red flag / weak
Mounting
Racking material & roof hooks | Aluminium rails + stainless (A2/A4) fasteners resist 25+ yr of weather. Roof hooks must suit YOUR roof (tile/slate/trapezoid/flat) and be flashed correctly — penetrations are the leak risk. Mixed metals invite galvanic corrosion. | Alu rails + stainless, roof-matched hooks | Standard certified system | Unspecified racking / mixed metals
Static / wind & snow design | Racking layout must be engineered for local wind and snow loads (ballast or anchoring). On a Bavarian roof, ask for the load calc and ballast plan (flat roof) — not a generic layout. | Project-specific load calc | Standard zone-rated layout | No load calc referenced
Electrical balance of system
DC & AC cabling / string design | Cross-section sized to limit voltage drop (<1% DC ideal) and current; UV-resistant solar cable on the DC side. Undersized cable = silent yield loss + heat. String layout should match MPPT/roof faces (see Inverter tab). | Cross-section sized to limit voltage drop (<1% DC ideal) and current; UV-resistant solar cable on the DC side. Undersized cable = silent yield loss + heat. String layout should match MPPT/roof faces (see Inverter tab). | Standard sizing | Cable spec absent / undersized
DC isolators, AC/DC surge protection, RCD | DC arc and overvoltage protection (SPD type 1/2), proper isolators, and the right RCD type protect against fire and lightning surges — Bavaria gets thunderstorms. Often omitted to shave cost. | Type 1/2 SPD + correct isolators/RCD | Type 2 SPD included | Surge/arc protection not listed
Smart meter / measurement concept | Self-consumption optimisation and dynamic tariffs need proper measurement (e.g. a compatible meter / energy meter at the grid point). Required for the inverter to regulate feed-in and for any home-energy-management logic. | Grid-point energy meter + EMS-ready | Basic metering included | No measurement concept
Energy management system (EMS) / interfaces | Ties PV + battery + heat pump + EV + dynamic tariff together to maximise self-consumption (e.g. heat the buffer / charge the car when PV is surplus or prices are low). Open protocols (Modbus, EEBus, SG-Ready for the heat pump) avoid vendor lock-in — important given your home-automation interest. | Open protocols, SG-Ready HP, EEBus | Vendor EMS, some integration | Closed cloud-only ecosystem
Wallbox / EV readiness | If an EV is on the horizon: 11 kW wallbox, PV-surplus charging support, and the cable/load budget reserved now. Retrofitting later is more expensive than provisioning the conduit and capacity up front. | PV-surplus charging, provisioned now | Wallbox-ready cabling | No provision, retrofit-only
Heat-pump-specific BoS
Buffer / hydraulic separation & DHW tank | A correctly sized buffer prevents short-cycling and decouples the pump from emitter flow swings; the DHW tank sizing affects reheat behaviour. Over/under-sizing both hurt JAZ. Check the hydraulic schematic is included. | Right-sized buffer + hydraulic plan | Buffer included, sized | No hydraulic concept shown
Emitter / radiator assessment | The offer should confirm your existing radiators or UFH can deliver the heat at the design (low) flow temperature, ideally after a room-by-room check. Skipping this is the root of low-JAZ retrofits. | Emitter check at design flow temp | General suitability stated | No emitter assessment
Hydraulic balancing (Verfahren B) | Required for BEG subsidy and for efficiency — balances flow to each radiator so the system runs at the lowest viable flow temp. Confirm it is included, not an afterthought. | Verfahren B balancing included | Balancing mentioned | Not included / unclear

## Glossary & Red Flags
Glossary & Red Flags
Key terms
kWp vs kWh | kWp (kilowatt-peak) = the power rating of the PV array at STC (sizing metric). kWh = energy (battery capacity, annual yield). Don't conflate a 10 kWp array with a 10 kWh battery — different things.
STC / NOCT | Standard Test Conditions (lab, 25°C cell) vs Nominal Operating Cell Temperature (more realistic). Real roofs run hot, so NOCT/temperature behaviour predicts field yield better than STC.
COP / SCOP / JAZ | COP = instantaneous efficiency at one condition. SCOP = standardised seasonal. JAZ (Jahresarbeitszahl) = your actual installed seasonal average. JAZ is the number that determines running cost — demand it for your flow temperature.
Flow temperature (Vorlauftemperatur) | The water temperature the heat pump delivers to radiators/UFH. Lower = higher efficiency. The biggest single lever on heat-pump running cost in a retrofit.
Heizlast (DIN EN 12831) | Calculated building heat load that should determine heat-pump kW sizing. An offer without one is guessing.
Modulation | Inverter-driven variable output. Lets the unit match demand and run efficiently at part load; the opposite (on/off) cycles harshly.
LFP vs NMC | Battery chemistries. LFP (LiFePO4): safer, longer cycle life, cobalt-free — the home-storage default. NMC: denser but hotter-running and shorter-lived.
DoD / SoH | Depth of Discharge = how much of the battery you cycle. State of Health = remaining capacity vs new; warranties guarantee a minimum SoH at end of term.
Hybrid inverter | Inverter with integrated battery management and (often) backup. DC-coupled hybrid is the efficient choice for new PV+battery builds.
Notstrom vs Ersatzstrom | Notstrom/USV = automatic, near-seamless backup (ideally 3-phase). Ersatzstrom = manual, basic, single-phase. 'Backup-ready' often means neither is actually included.
R290 / R32 / GWP | Refrigerants. R290 (propane, GWP~3) is the future-proof, high-efficiency choice favoured by the F-Gas phase-down; R32 (GWP~675) is current mainstream; R410A (GWP~2088) is legacy.
Monobloc vs split | Monobloc: all refrigerant outdoors, only water enters the house (no on-site refrigerant work). Split: indoor+outdoor units with refrigerant lines between.
SG-Ready / EEBus / Modbus | Open interfaces that let PV, battery, heat pump and EMS talk to each other for surplus-driven control. Avoid closed cloud-only ecosystems if you value integration.
BEG / Förderung | Bundesförderung für effiziente Gebäude — German subsidy scheme. Heat-pump grants can be substantial; eligibility depends on efficiency (e.g. JAZ), hydraulic balancing, and using eligible equipment. Always compare AFTER-subsidy net cost on an apples-to-apples basis.
Verfahren B | The detailed (room-by-room) method of hydraulic balancing required for BEG heat-pump funding and good efficiency.
Einspeisevergütung / dynamic tariff | Feed-in tariff for exported PV vs time-variable electricity prices. Battery + EMS value increasingly comes from optimising against these.
Tier-1 | A Bloomberg BANKABILITY ranking of module makers (likelihood of project financing), NOT a direct quality grade — but it correlates with the maker surviving to honour a 25-yr warranty.
Red flags in offers — question these
Vague component names | 'Premium modules', 'high-quality inverter', 'powerful battery' with NO brand and exact model number. You cannot verify a single spec without the model — insist on it.
Price before vs after Förderung mixed | Quoting the after-subsidy number as if it were the price, or assuming a subsidy rate you may not qualify for. Always get NET, GROSS, and after-Förderung separately.
Performance vs product warranty conflated | A 25-year 'warranty' that is only the output curve, with a short product/workmanship warranty hidden underneath. Ask for both, in years.
COP@A7/W35 only for heat pumps | The flattering mild-condition figure. Without SCOP/JAZ and the A−7 cold-day COP, you can't judge winter running cost.
No Heizlast / no emitter check | Heat-pump sizing by rule of thumb and no confirmation your radiators work at low flow temp — the classic recipe for a disappointing, expensive-to-run retrofit.
'Backup ready' with no backup hardware | Battery/inverter described as backup-capable but the backup box and wiring are not in the scope — you get nothing in a blackout.
Missing balance-of-system | No surge/arc protection, no proper metering, undersized cable, generic racking — corners cut where you can't see them.
High-pressure / expiring 'today only' pricing | Artificial urgency, large upfront deposits, or financing/lease/PPA terms that obscure the true cost of ownership. Slow down and compare like-for-like.
Subcontracted install, unclear warranty chain | The seller, the installer and the warranty-holder are different entities — clarify who you call in year 8 when something fails.
Cloud-only ecosystem | Monitoring/control locked to a vendor cloud with no local or open-protocol access — an outage and lock-in risk, and a barrier to your home-automation integration.

## Control & HEMS (Education)
Control, HEMS & Home-Assistant Integration (Education)
Priority for this sheet: LOCAL control and open protocols, no cloud lock-in, and coordinating PV + battery + heat pump + (future) EV from one system you own, for example with Home Assistant. It explains the specs that decide whether that is possible. The biggest lock-in trap is a vendor whose inverter or energy manager exposes data only through its cloud.
Spec / capability | Why it matters for self-control & HomeAssistant | Good | Acceptable | Red flag
Reading & controlling the system locally
Local Modbus TCP/RTU | The gold standard for Home Assistant. If the inverter exposes Modbus on the LAN, HA can read PV, battery SoC, grid flow and (often) WRITE setpoints — charge/discharge, export limit — with zero cloud dependency. SMA, Sungrow, Fenecon, Huawei, RCT all expose Modbus to varying degrees. | Documented local Modbus TCP register map, read+write | Read-only Modbus, or via dongle | No Modbus; cloud API only
Open local API vs cloud-only | A documented LAN/REST/MQTT interface means you don't depend on the vendor's servers (which can change, charge, or shut down). Cloud-only telemetry is the classic lock-in: nice app, but you can't build your own automations or survive an internet outage. | Local REST/MQTT/Modbus, documented | Local but undocumented/reverse-engineered | Cloud-only, ToS forbids scraping
Home Assistant integration maturity | Some systems have native or well-maintained community (HACS) integrations: SMA (native + Modbus), Sungrow (excellent HACS 'mkaiser' integration, read+write), Huawei (HACS 'wlcrs'), Fenecon/OpenEMS, RCT Power (HACS). EcoFlow & many cloud-only brands are read-only or unstable. | Mature HACS/native, read+write | Community integration, read-only | None / cloud-polling only
EEBus | Emerging EU standard for appliance↔energy-manager talk, esp. heat pumps & wallboxes ↔ HEMS. SG-Ready's modern successor. Relevant for WP + EV surplus control. Less HA-native than Modbus today but strategically important. | EEBus supported | Roadmap/partial | None
Coordinating PV + WP + grid (the actual goal)
Dynamic-tariff readiness | To buy grid power when it's cheapest (Tibber/aWATTar/Rabot/1K5 Dynamic Pulse) you need a smart meter (iMSys) + a controller that can shift battery charging and WP runtime to cheap/green hours. Worthless if the system can't act on a price signal. | Works with dynamic tariff + shifts loads | Smart-meter ready, manual | Static control only
PV-surplus heat-pump control | Coordinating PV with the WP: push surplus PV into the buffer/DHW tank instead of exporting cheaply. Done via SG-Ready, EEBus, or a HEMS that controls both. Whether YOUR PV brand can talk to YOUR WP brand is the key cross-vendor question. | Surplus→WP automated, cross-brand OK | SG-Ready on/off only | No coordination path
Battery setpoint control | Can an external system (HA) command the battery to charge/hold/discharge at a target power? This unlocks tariff arbitrage and self-built logic. Sungrow & Huawei expose this via Modbus write; many cloud systems do not. | External charge/discharge setpoint via local API | Vendor app schedules only | No external control
Emergency power (backup) | 1-phase 'Ersatzstrom' vs automatic 3-phase 'Notstrom/USV'. For whole-home backup you need a 3-phase backup-capable hybrid + backup box, correctly wired. Separate from controllability but often bundled in the same premium hardware. | Automatic 3-phase whole-home | 1-phase partial | None / 'ready' but not included
Smart meter (iMSys/MID) | A grid-point meter (and increasingly a certified iMSys) is required for dynamic tariffs and for the HEMS to see true import/export. Check it's included and where it's measured. | Grid-point meter incl., iMSys-ready | Basic meter | No metering concept
Future EV / V2H readiness | Provision now (cable, load budget, 3-phase) for an 11kW wallbox with PV-surplus charging; longer term, bidirectional (V2H/V2G) is coming. A HEMS that already manages a wallbox is a plus. | Wallbox+surplus in HEMS, V2H on roadmap | Wallbox-ready cabling | No provision